Strain-Gage Low Noise Signal Conditioning
Kevin Egedy
May 30, 2020

---
Instrumentation Amplifier Specs

---
Strain-Gage Thevenin Eq. + Instrumentation Amp.
Strain-Gauge
Ideal Sources
5.0 V Single-ended power supply
2.5 V Single-ended power supply
Precision Amplifiers
ADA4528: en = 5.6nV, in = 0.7pA

---
DC Operation: 192 Resistor Series (0.1% tolerance)

---
Front-End Frequency Response
Target
Actual
CMMR

---
Input-Referred Noise Target
ADA4528: en = 5.6nV, in = 0.7pA
Integrated noise from 1Hz to 5kHz is 72.1 uV.

---
Noise Sources
ADA4528: en = 5.6nV, in = 0.7pA
Gain Stage: 3.69 * 10-15 V2/Hz
Strain-Gage Noise: 1.67 * 10-17 V2/Hz
Difference Amp Non-Inverting: 8.23 * 10-15 V2/Hz
Difference Amp Inverting: 8.32 * 10-15 V2/Hz